SCS implant

Surgeon: Dr. Lee

Date: 20220517

MRN: 3096002

Transcutaneous SCS (Hui)

Imaging: Spinal cord (which level? )

**Notes:**

Cycles of ~30 seconds ramping up (actual time shorter for 50mA, longer for 100mA), 30 seconds on, 30 seconds off

First 4 cycles were 50mA

Second 4cycles were 100mA

1. Protocol:
   1. Baseline : 0:00-2:00

50mA 4 cycles

* 1. Ramping up: 2:00
  2. On - 2:22
  3. Off - 2:52
  4. Ramping up: 3:22
  5. On- 3:42 (only ~20 seconds long , made a mistake)
  6. Off - 4:03
  7. Ramping up: 4:33
  8. On: 4:59
  9. Off: 5:29
  10. Ramping up: 5:59
  11. On: 6:20
  12. Off : 6:50
  13. Rest: 6:50-8:50

100mA 4 cycles

* 1. Ramping up:8:50
  2. On - 9:40
  3. Off - 10:10
  4. Ramping up: 10:40
  5. On- - 11:20
  6. Off - 11:50
  7. Ramping up: 12:20
  8. On - 13:07
  9. Off - 13:37
  10. Ramping up 14:07
  11. On - 14:50
  12. Off - 15:20

Rest - 15:20-18:00